## Sheet1
| note_text | relevance | no_resistance | interpretation | rule | exception | indication | new_bp | not_encodable | resistance | roa | other_information
0 | Agar dilution is the reference method for fosfomycin. MICs must be determined in the presence of glucose-6-phosphate (25 mg/L in the medium). Follow the manufacturers' instructions for commercial systems. | 0
1 | Agar dilution is the reference method for fosfomycin. MICs must be determined in the presence of glucose-6-phosphate (25 mg/L in the medium). Follow the manufacturers' instructions for commercial systems. Infections caused by wild type isolates (ECOFF: MIC 128 mg/L; corresponding zone diameter 12 mm using the disk potency and reading instructions for E. coli) have been treated with fosfomycin in combination with other agents. | 0
2 | Agar dilution is the reference method for mecillinam MIC determination. | 0
3 | Always test for beta-lactamase. If positive, report resistant to benzylpenicillin, ampicillin and amoxicillin. Tests based on a chromogenic cephalosporin can be used to detect the beta-lactamase. The susceptibility of beta-lactamase negative isolates to ampicillin and amoxicillin can be inferred from benzylpenicillin. | 1 |  | 1 | rule_10_4; n_gonorrhoeae_penicillin_1
4 | Aminoglycoside breakpoints are based on once-daily administration of high aminoglycoside dosages. Most often aminoglycosides are given in combination with beta-lactam agents. | 0
5 | Aminoglycoside breakpoints are based on once-daily administration of high dose therapy aminoglycoside dosages, see table of dosages. Most often aminoglycosides are given in combination with beta-lactam agents. | 0
6 | Aminoglycoside breakpoints are based on once-daily administration. | 0
7 | Ampicillin resistance in E. faecalis is rare and should be confirmed with an MIC test. | 1 | 1
8 | Ampicillin susceptible S. saprophyticus are mecA-negative and susceptible to ampicillin, amoxicillin and piperacillin (without or with a beta-lactamase inhibitor). | 1 |  | 1 | staphylococcus_penicillins_3
9 | ATU relevant only if the benzylpenicillin 1 unit disk screen is positive (inhibition zone <12 mm). | 1 | [6 empty] | 1
10 | Azithromycin has been used in the treatment of infections with Salmonella Typhi (MIC ≤16 mg/L for wild type isolates) and Shigella spp. | 1 |  |  |  | Shigella |  | Salmonella enterica subsp. enterica serovar Typhi; Azithromycin; 16
11 | Azithromycin is always used in conjunction with another effective agent. For testing purposes with the aim of detecting acquired resistance mechanisms, the ECOFF is 1 mg/L. | 1 | [6 empty] | 1
12 | Beta-lactamase positive isolates can be reported resistant to ampicillin and amoxicillin without inhibitors. Tests based on a chromogenic cephalosporin can be used to detect the beta-lactamase. Beta-lactam resistance mechanisms other than beta-lactamase production have not yet been described for K. kingae. | 1 |  | 1 | n.e.
13 | Beta-lactamase positive isolates can be reported resistant to ampicillin, amoxicillin and piperacillin without inhibitors. Tests based on a chromogenic cephalosporin can be used to detect the beta-lactamase. | 1 |  | 1 | n.e.
14 | Beta-lactamase positive isolates can be reported resistant to benzylpenicillin and to ampicillin and amoxicillin without inhibitors. Tests based on a chromogenic cephalosporin can be used to detect the beta-lactamase. Beta-lactam resistance mechanisms other than beta-lactamase production have not yet been described for K. kingae. | 1 |  | 1 | kingae_penicillin_1
15 | Breakpoints apply only to tests performed on Middlebrook 7H11/7H10 medium. Comparability of tests performed by other media has not been established. | 0
16 | Breakpoints apply only to use in the prophylaxis of meningococcal disease. | 1 |  |  |  |  | prophylaxis for meningococcal disease
17 | Breakpoints are based on a 2 g-single dose in monotherapy. | 0
18 | Breakpoints are based on a dose of at least 3 g x 4, with or without clavulanic acid. | 0
19 | Breakpoints are based on a minimum dose of 500 mg x 3. | 0
20 | Breakpoints are based on high dose therapy (0.4 g x 2). | 0
21 | Breakpoints are based on high dose therapy (0.5 g x 2 oral or 0.5 g x 2 iv). | 0
22 | Breakpoints are based on high dose therapy (0.5 g x 2). | 0
23 | Breakpoints are based on high dose therapy (0.75 g x 2 oral or 0.4 g x 3 iv). | 0
24 | Breakpoints are based on high dose therapy (1 g administered over 4 h x 3). | 0
25 | Breakpoints are based on high dose therapy (1 g x 4). | 0
26 | Breakpoints are based on high dose therapy (1.5 g x 3). | 0
27 | Breakpoints are based on high dose therapy (2 g x 3). | 0
28 | Breakpoints are based on high dose therapy (4 g x 4, with or without tazobactam). | 0
29 | Breakpoints are based on high dose therapy (oral dose of 0.75 g x 2, iv dose of 0.4 g x 3). | 0
30 | Breakpoints are based on high dose therapy, at least 0.24 g trimethoprim and 1.2 g sulfamethoxazole administered together twice daily. | 0
31 | Breakpoints are based on high dose therapy, see table of dosages (0.4 g x 2). | 0
32 | Breakpoints are based on high dose therapy, see table of dosages (0.5 g x 2 oral or 0.5 g x 2 iv). | 0
33 | Breakpoints are based on high dose therapy, see table of dosages (0.5 g x 2). | 0
34 | Breakpoints are based on high dose therapy, see table of dosages (0.75 g x 2 oral or 0.4 g x 3 iv). | 0
35 | Breakpoints are based on high dose therapy, see table of dosages (1 g administered over 4 h x 3). | 0
36 | Breakpoints are based on high dose therapy, see table of dosages (1 g x 4). | 0
37 | Breakpoints are based on high dose therapy, see table of dosages (1.5 g x 3). | 0
38 | Breakpoints are based on high dose therapy, see table of dosages (2 g x 3). | 0
39 | Breakpoints are based on high dose therapy, see table of dosages (4 g x 4, with or without tazobactam). | 0
40 | Breakpoints are based on high dose therapy, see table of dosages (oral dose of 0.75 g x 2, iv dose of 0.4 g x 3). | 0
41 | Breakpoints are based on high dose therapy, see table of dosages. | 0
42 | Breakpoints are based on high dose therapy, see table of dosages. at least 0.24 g trimethoprim and 1.2 g sulfamethoxazole administered together twice daily. | 0
43 | Breakpoints are based on intravenous administration. | 1 | [8 empty] | iv
44 | Breakpoints are based on intravenous administration. For penicillins without inhibitors, breakpoints apply to beta-lactamase negative isolates only. For penicillins without inhibitors, beta-lactamase positive isolates should be reported resistant. | 1 |  | 1 | n.e. | [5 empty] | iv
45 | Breakpoints are pending applications to national regulatory authorities to license a high-dose regimen of 2 g x 3. | 1 | 1
46 | Breakpoints do not apply to Plesiomonas shigelloides since aminoglycosides have low intrinsic activity against this species. | 1 |  |  |  | Plesiomonas shigelloides
47 | Breakpoints for penicillins other than "benzylpenicillin (meningitis)" relate only to non-meningitis isolates. | 1 | [6 empty] | 1
48 | Breakpoints for penicillins other than benzylpenicillin relate only to non-meningitis isolates. | 1 |  |  |  |  | NOT meningitis
49 | Breakpoints for penicillins other than benzylpenicillin relate only to non-meningitis isolates. Isolates fully susceptible to benzylpenicillin (MIC ≤0.06 mg/L and/or susceptible by oxacillin disk screen, see note C) can be reported susceptible to beta-lactam agents for which clinical breakpoints are listed (including those with "Note"). | 1 |  | 1 | s_pneumoniae_penicillin_1 |  | NOT meningitis
50 | Breakpoints relate to meningitis only. | 1 |  |  |  |  | meningitis
51 | Breakpoints relate to nasal decolonisation of S. aureus. Intermediate isolates are associated with short term suppression (useful preoperatively) but, unlike susceptible isolates, long term eradication rates are low. | 0
52 | Breakpoints relate to topical use only. | 1 | [8 empty] | topical
53 | Breakpoints still under consideration. | 1 | 1
54 | Clinical evidence for the efficacy of macrolides in H. influenzae respiratory infections is conflicting due to high spontaneous cure rates. Should there be a need to test any macrolide against this species, the epidemiological cut-offs (ECOFFs) should be used to detect strains with acquired resistance. The ECOFFs for each agent are: azithromycin 4 mg/L, clarithromycin 32 mg/L, erythromycin 16 mg/L and telithromycin 8 mg/L. There are insufficient data available to establish an ECOFF for roxithromycin. | 1 | 1
55 | Colistin MIC determination should be performed with broth microdilution. Quality control must be performed with both a susceptible QC strain (E. coli ATCC 25922 or P. aeruginosa ATCC 27853) and the colistin resistant E. coli NCTC 13846 (mcr-1 positive). | 0
56 | Correlation between macrolide MICs and clinical outcome is weak for H. influenzae. Therefore, breakpoints for macrolides and related antibiotics have been set to categorise wild type H. influenzae as intermediate. | 0
57 | Daptomycin MICs must be determined in the presence of Ca2+ (50 mg/L in the medium for broth dilution methods; agar dilution methods have not been validated). Follow the manufacturer's instructions for commercial systems. | 0
58 | E. faecium resistant to penicillins can be considered resistant to all other beta-lactam agents including carbapenems. | 1 |  | 1 | enterococcus_penicillins_1_2
59 | Enterococci are intrinsically resistant to aminoglycosides and aminoglycoside monotherapy is ineffective. There is likely to be synergy between aminoglycosides and penicillins or glycopeptides against enterococci without acquired high-level aminoglycoside resistance. All testing is therefore to distinguish between intrinsic and high-level acquired resistance. | 1 | [7 empty] | 1
60 | Erythromycin can be used to determine susceptibility to azithromycin and clarithromycin. | 1 |  | 1 | n.e.
61 | Erythromycin can be used to determine susceptibility to azithromycin, clarithromycin and roxithromycin. | 1 |  | 1 | exec_rule_11_1_1, exec_rule_11_1_2, exec_rule_11_1_3
62 | Fidaxomicin breakpoints and ECOFF have not been set because the available data show major variation in MIC distribution between studies. | 1 | 1
63 | For anaerobic bacteria there is clinical evidence of activity in mixed intra-abdominal infections, but no correlation between MIC values, PK-PD data and clinical outcome. Therefore no breakpoints for susceptibility testing are given. | 1 | 1
64 | For breakpoints and dosing in pneumonia, see table of dosages. | 0
65 | For breakpoints for other fluoroquinolones (e.g. pefloxacin and enoxacin), refer to breakpoints set by national breakpoint committees. | 1 | 1
66 | For dosing, see table of dosages. | 0
67 | For isolates categorised as intermediate to ampicillin avoid oral treatment with ampicillin, amoxicillin or amoxicillin-clavulanic acid. | 1 | 1
68 | For isolates susceptible to benzylpenicillin, susceptibility can be inferred from benzylpenicillin or ampicillin. For isolates resistant to benzylpenicillin, susceptibility is inferred from ampicillin. | 1 |  | 1 | n.e.
69 | For more information, see http://www.eucast.org/guidance_documents/. | 0
70 | For other Enterobacterales, the activity of tigecycline varies from insufficient in Proteus spp., Morganella morganii and Providencia spp. to variable in other species. For more information, see http://www.eucast.org/guidance_documents/. | 1 | [6 empty] | 1
71 | For prophylaxis of meningitis only (refer to national guidelines). | 1 |  |  |  |  | prophylaxis for meningitis
72 | For staphylococci other than S. aureus, S. lugdunensis and S. saprophyticus, the cefoxitin MIC is a poorer predictor of methicillin resistance than the disk diffusion test. | 0
73 | For susceptibility testing purposes, the concentration of avibactam is fixed at 4 mg/L. | 0
74 | For susceptibility testing purposes, the concentration of clavulanic acid is fixed at 2 mg/L. | 0
75 | For susceptibility testing purposes, the concentration of clavulanic acid is fixed at 2 mg/L. | 0
76 | For susceptibility testing purposes, the concentration of clavulanic acid is fixed at123122 mg/L. | 0
77 | For susceptibility testing purposes, the concentration of sulbactam is fixed at 4 mg/L. | 0
78 | For susceptibility testing purposes, the concentration of tazobactam is fixed at 4 mg/L. | 0
79 | For susceptibility testing purposes, the concentration of tazobactam is fixed at 4 mg/L. | 0
80 | For susceptibility testing purposes, the concentration of vaborbactam is fixed at 8 mg/L. | 0
81 | For tigecycline broth microdilution MIC determination, the medium must be prepared fresh on the day of use. | 0
82 | Fosfomycin MICs must be determined in the presence of glucose-6-phosphate (25 mg/L in the medium for broth and agar dilution methods). Follow the manufacturer's instructions for commercial systems. | 0
83 | Gentamicin can be used to screen for high-level aminoglycoside resistance (HLAR). | 0
84 | Gentamicin can be used to screen for high-level aminoglycoside resistance (HLAR). Negative test: Isolates with gentamicin MIC ≤128 mg/L or a zone diameter ≥8 mm. The isolate is wild type for gentamicin and low-level intrinsic resistant. For other aminoglycosides, this may not be the case. Synergy with penicillins or glycopeptides can be expected if the isolate is susceptible to the penicillin or glycopeptide. Positive test: Isolates with gentamicin MIC >128 mg/L or a zone diameter <8 mm. The isolate is high-level resistant to gentamicin and other aminoglycosides, except streptomycin which must be tested separately if required (see note 3/B). There will be no synergy with penicillins or glycopeptides. | 1 |  | 1 | exec_rule_12_6
85 | Gentamicin can be used to screen for high-level aminoglycoside resistance (HLAR). Negative test: Isolates with gentamicin MIC ≤128 mg/L. The isolate is wild type for gentamicin and low-level intrinsic resistant. For other aminoglycosides, this may not be the case. Synergy with penicillins or glycopeptides can be expected if the isolate is susceptible to the penicillin or glycopeptide. Positive test: Isolates with gentamicin MIC >128 mg/L. The isolate is high-level resistant to gentamicin and other aminoglycosides except streptomycin. There will be no synergy with penicillins or glycopeptides. | 1 |  | 1 | exec_rule_12_6
86 | Glycopeptide MICs are method dependent and should be determined by broth microdilution (ISO standard 20776-1). S. aureus with vancomycin MIC values of 2 mg/L are on the border of the wild type distribution and there may be an impaired clinical response. The resistant breakpoint has been reduced to 2 mg/L to avoid reporting "GISA" isolates intermediate as serious infections with "GISA" isolates are not treatable with increased doses of vancomycin or teicoplanin. | 1 | 1
87 | Glycopeptide MICs are method dependent and should be determined by broth microdilution (reference ISO 20776). S. aureus with vancomycin MIC values of 2 mg/L are on the border of the wild type distribution and there may be an impaired clinical response. The resistant breakpoint has been reduced to 2 mg/L to avoid reporting "GISA" isolates intermediate as serious infections with "GISA" isolates are not treatable with increased doses of vancomycin or teicoplanin. | 0
88 | In pneumonia, when a dose of 1.2 g x 4 is used, isolates with MIC ≤0.5 mg/L should be regarded as susceptible. | 0
89 | In pneumonia, when a dose of 1.2 g x 4 is used, isolates with MIC ≤0.5 mg/L should be regarded as susceptible. In pneumonia, when a dose of 2.4 g x 4 or 1.2 g x 6 is used, isolates with MIC ≤1 mg/L should be regarded as susceptible. In pneumonia, when a dose of 2.4 g x 6 is used, isolates with MIC ≤2 mg/L should be regarded as susceptible. | 1 |  | 1 | n.e.
90 | In pneumonia, when a dose of 1.2 g x 4 is used, isolates with MIC 0.5 mg/L should be regarded as susceptible. In pneumonia, when a dose of 2.4 g x 4 or 1.2 g x 6 is used, isolates with MIC â‰¤1 mg/L should be regarded as susceptible. In pneumonia, when a dose of 2.4 g x 6 is used, isolates with MIC â‰¤2 mg/L should be regarded as susceptible. | 1 | [6 empty] | 1
91 | Inducible clindamycin resistance can be detected by antagonism of clindamycin activity by a macrolide agent. If not detected, then report as susceptible. If detected, then report as resistant and consider adding this comment to the report: "Clindamycin may still be used for short-term therapy of less serious skin and soft tissue infections as constitutive resistance is unlikely to develop during such therapy". | 1 |  | 1 | n.e.
92 | Inducible clindamycin resistance can be detected by antagonism of clindamycin activity by a macrolide agent. If not detected, then report as susceptible. If detected, then report as resistant. | 1 |  | 1 | n.e.
93 | Inducible clindamycin resistance can be detected by antagonism of clindamycin activity by a macrolide agent. If not detected, then report as tested according to the clinical breakpoints. If detected, then report as resistant and consider adding this comment to the report: "Clindamycin may still be used for short-term therapy of less serious skin and soft tissue infections as constitutive resistance is unlikely to develop during such therapy". | 1 |  | 1 | n.e.
94 | Inducible clindamycin resistance can be detected by antagonism of clindamycin activity by a macrolide agent. If not detected, then report as tested according to the clinical breakpoints. If detected, then report as resistant. | 1 |  | 1 | n.e.
95 | Infections caused by wild type isolates (ECOFF 128 mg/L) have been treated with combinations of fosfomycin and other agents. | 1 | 1
96 | Infer susceptibility from ampicillin susceptibility. | 1 |  | 1 | a_sanguinicola_urinae_penicillin_1
97 | Isolates susceptible to linezolid can be reported susceptible to tedizolid. | 1 |  | 1 | staphylococcus_oxazolidinones_1
98 | Isolates susceptible to tetracycline are also susceptible to doxycycline and minocycline, but some resistant to tetracycline may be susceptible to minocycline and/or doxycycline. An MIC method should be used to test doxycycline susceptibility of tetracycline resistant isolates if required. | 1 |  | 1 | t_staphylococcus_tetracyclines_1
99 | Isolates susceptible to tetracycline are also susceptible to doxycycline, but some resistant to tetracycline may be susceptible to doxycycline. An MIC method should be used to test doxycycline susceptibility of tetracycline resistant isolates if required. | 1 |  | 1 | c_jejuni_coli_tetracyclines_1
100 | Isolates susceptible to tetracycline are also susceptible to minocycline, but some isolates resistant to tetracycline may be susceptible to minocycline. | 1 |  | 1 | n.e.
101 | Isolates susceptible to vancomycin can be reported susceptible to dalbavancin and oritavancin. | 1 |  | 1 | staphylococcus_glyco_4
102 | Isolates with high-level gentamicin resistance may not be high-level resistant to streptomycin. | 1 | [6 empty] | 1
103 | Isolates with high-level gentamicin resistance may not be high-level resistant to streptomycin. Negative test: Isolates with streptomycin MIC ≤512 mg/L or a zone diameter ≥14 mm. The isolate is wild type for streptomycin and low-level intrinsic resistant. Synergy with penicillins or glycopeptides can be expected if the isolate is susceptible to the penicillin or glycopeptide. Positive test: Isolates with streptomycin MIC >512 mg/L or a zone diameter <14 mm. The isolate is high-level resistant to streptomycin. There will be no synergy with penicillins or glycopeptides. | 1 |  | 1 | enterococcus_aminoglycosides_3_1, enterococcus_aminoglycosides_3
104 | Low-level fluoroquinolone resistance (ciprofloxacin MICs of 0.125-0.5 mg/L) may occur but there is no evidence that this resistance is of clinical importance in respiratory tract infections with H. influenzae. | 0
105 | Low-level resistance is common in Morganella spp., Proteus spp. and Providencia spp. | 1 | [6 empty] | 1
106 | Meropenem is the only carbapenem used for meningitis. | 0
107 | Methicillin-susceptible isolates can be reported susceptible to ceftaroline without further testing. | 1 |  | 1 | staphylococcus_cephalosporin_5_and_7
108 | Methicillin-susceptible isolates can be reported susceptible to ceftobiprole without further testing. | 1 |  | 1 | staphylococcus_cephalosporin_5_and_7
109 | MICs must be determined in the presence of polysorbate-80 (0.002% in the medium for broth dilution methods; agar dilution methods have not been validated). Follow the manufacturer's instructions for commercial systems. | 0
110 | Most M. catarrhalis produce beta-lactamase, although beta-lactamase production is slow and may give weak results with in vitro tests. Beta-lactamase producers should be reported resistant to penicillins and aminopenicillins without inhibitors. | 1 |  | 1 | m_catarrhalis_penicillin_1
111 | Most staphylococci are penicillinase producers, which are resistant to benzylpenicillin, phenoxymethylpenicillin, ampicillin, amoxicillin, piperacillin and ticarcillin. Isolates negative for penicillinase and susceptible to methicillin can be reported susceptible to these agents. Isolates positive for penicillinase and methicillin susceptible are susceptible to beta-lactamase inhibitor combinations and isoxazolylpenicillins (oxacillin, cloxacillin, dicloxacillin and flucloxacillin). Methicillin resistant isolates are, with few exceptions, resistant to all beta-lactam agents. | 1 |  | 1 | n.e.
112 | Most staphylococci are penicillinase producers, which make them resistant to benzylpenicillin, phenoxymethylpenicillin, ampicillin, amoxicillin, piperacillin and ticarcillin. When staphylococci test as susceptible to benzylpenicillin and cefoxitin they can be reported as susceptible to the above agents. However, the efficacy of oral formulations, particularly phenoxymethylpenicillin, is uncertain. Isolates that test as resistant to benzylpenicillin but susceptible to cefoxitin are susceptible to β-lactamase inhibitor combinations, the isoxazolylpenicillins (oxacillin, cloxacillin, dicloxacillin and flucloxacillin), nafcillin and many cephalosporins. With the exception of ceftaroline and ceftobiprole, cefoxitin-resistant isolates are resistant to all beta-lactam agents. | 1 |  | 1 | staphylococcus_penicillins_1_1, staphylococcus_penicillins_1_2
113 | MRSA isolates susceptible to vancomycin can be reported susceptible to telavancin. | 1 |  | 1 | t_staphylococcus_glyco_5
114 | No currently available method can reliably detect penicillinase production in coagulase-negative staphylococci. | 1 | 1
115 | Non-susceptible isolates are rare or not yet reported. The identification and antimicrobial susceptibility test result on any such isolate must be confirmed and the isolate sent to a reference laboratory. | 1 | 1
116 | Not for meningitis (meropenem is the only carbapenem used for meningitis). | 1 |  |  |  |  | NOT meningitis
117 | Not used clinically. May be tested for epidemiological purposes only (ECOFF 0.004 mg/L). | 1 | 1
118 | Not used clinically. May be tested for epidemiological purposes only (ECOFF 0.25 mg/L). | 1 | 1
119 | Not used clinically. May be tested for epidemiological purposes only (ECOFF 2 mg/L). | 1 | 1
120 | Not used clinically. May be tested for epidemiological purposes only (ECOFF 4 mg/L). | 1 | 1
121 | Quality control of colistin must be performed with both a susceptible QC strain (E. coli ATCC 25922 or P. aeruginosa ATCC 27853) and the colistin resistant E. coli NCTC 13846 (mcr-1 positive). | 0
122 | Resistance to amikacin is most reliably determined by testing with kanamycin (MIC >8 mg/L). The corresponding zone diameter for the kanamycin 30 µg disk is R<18 mm for S. aureus and R<22 mm for coagulase-negative staphylococci. | 1 |  | 1 | exec_rule_12_1
123 | Resistance to amikacin is most reliably determined by testing with kanamycin (MIC >8 mg/L). The corresponding zone diameter for the kanamyicn 30 µg disk is R<18 mm for S. aureus and R<22 mm for coagulase-negative staphylococci. | 1 |  | 1 | exec_rule_12_1
124 | Resistant isolates are rare. | 1 | 1
125 | S. aureus and S. lugdunensis with cefoxitin MIC values >4 mg/L and S. saprophyticus with cefoxitin MIC values >8 mg/L are methicillin resistant, mostly due to the presence of the mecA or mecC gene. Disk diffusion reliably predicts methicillin resistance. | 1 |  | 1 | staphylococcus_cephalosporin_3
126 | S. aureus isolates susceptible to vancomycin can be reported susceptible to dalbavancin and oritavancin. | 1 |  | 1 | n.e.
127 | S. aureus, S. lugdunensis and S. saprophyticus with oxacillin MIC values >2 mg/L are mostly methicillin resistant due to the presence of the mecA or mecC gene. Occasionally oxacillin MIC values are high in S. aureus in absence of mec-gene mediated resistance. These strains have been called BORSA (borderline oxacillin resistant S. aureus). EUCAST does not recommend systematic screening for BORSA. For coagulase-negative staphylococci other than S. saprophyticus and S. lugdunensis, the oxacillin MIC in methicillin resistant strains is >0.25 mg/L. | 1 |  | 1 | , staphylococcus_penicillins_4_2
128 | S. aureus, S. lugdunensis and S. saprophyticus with oxacillin MIC values >2 mg/L are mostly methicillin resistant due to the presence of the mecA or mecC gene. The corresponding oxacillin MIC for coagulase-negative staphylococci other than S. saprophyticus and S. lugdunensis is >0.25 mg/L. | 1 |  | 1 | , staphylococcus_penicillins_4_2
129 | Some isolates that produce carbapenemase are categorised as susceptible with the current breakpoints and should be reported as tested, i.e. the presence or absence of a carbapenemase does not in itself influence the categorisation of susceptibility. Carbapenemase detection and characterisation are recommended for public health and infection control purposes. For carbapenemase screening a meropenem screening cut-off of >0.125 mg/L (zone diameter <28 mm) is recommended. | 1 | [6 empty] | 1
130 | Streptococcus groups A, B, C and G do not produce beta-lactamase. The addition of a beta-lactamase inhibitor does not add clinical benefit. | 0
131 | Susceptibility can be inferred from amoxicillin-clavulanic acid. | 1 |  | 1 | influenzae_penicillin_4
132 | Susceptibility can be inferred from benzylpenicillin susceptibility. | 1 |  | 1 | k_kingae_penicillin_2
133 | Susceptibility can be inferred from ciprofloxacin susceptibility. | 1 |  | 1 | a_sanguinicola_urinae_fluoroquinolones_1
134 | Susceptibility can be inferred from erythromycin susceptibility. | 1 |  | 1 | exec_rule_11_1_1, exec_rule_11_1_2, exec_rule_11_1_3
135 | Susceptibility inferred from ampicillin (MIC or zone diameter). | 1 | [6 empty] | 1
136 | Susceptibility inferred from ampicillin or amoxicillin. | 1 |  | 1 | influenzae_penicillin_6
137 | Susceptibility inferred from the MIC of ampicillin. | 1 |  | 1 | s_pneumoniae_penicillin_4
138 | Susceptibility inferred from the MIC of ampicillin. For oxacillin non-susceptible isolates, always determine the MIC of benzylpenicillin. | 1 |  | 1 | n.e.
139 | Susceptibility of staphylococci to carbapenems is inferred from the cefoxitin susceptibility. | 1 |  | 1 | staphylococcus_cephalosporin_1_and_carbapenems_1
140 | Susceptibility of staphylococci to cephalosporins is inferred from the cefoxitin susceptibility except for cefixime, ceftazidime, ceftazidime-avibactam, ceftibuten and ceftolozane-tazobactam, which do not have breakpoints and should not be used for staphylococcal infections. Some methicillin-resistant S. aureus are susceptible to ceftaroline and ceftobiprole, see Notes 5/D and 7/F. | 1 |  | 1 | staphylococcus_cephalosporin_1_and_carbapenems_1
141 | Susceptibility testing of Acinetobacter spp. to penicillins is unreliable. In most instances, Acinetobacter spp. are resistant to penicillins. | 1 | [7 empty] | 1
142 | Susceptibility to ampicillin, amoxicillin and piperacillin with and without beta-lactamase inhibitor can be inferred from ampicillin. | 1 |  | 1 | enterococcus_penicillins_1_3
143 | Susceptibility to ampicillin, amoxicillin, piperacillin and ticarcillin can be inferred from susceptibility to benzylpenicillin. | 1 |  | 1 | gram_pos_anaerobes_penicillin_1
144 | Tetracycline can be used to determine susceptibility to doxycycline. | 1 |  | 1 | c_jejuni_coli_tetracyclines_1
145 | Tetracycline can be used to predict susceptibility to minocycline for prophylaxis against N. meningitidis infections. | 1 |  | 1 | n.e.
146 | Tetracycline has been used to predict doxycycline susceptibility for the treatment of Yersinia enterocolitica infections (tetracycline MIC ≤4 mg/L for wild-type isolates). The corresponding zone diameter for the tetracycline 30 µg disk is ≥19 mm. | 1 |  |  |  | Yersinia enterocolitica |  |  | Yersinia enterocolitica; Tetracycline; 4
147 | The activity of trimethoprim and trimethoprim-sulfamethoxazole is uncertain against enterococci, and it is not possible to predict clinical outcome. The ECOFF to categorise isolates as wild type or non-wild type for both E. faecalis and E. faecium is 1 mg/L, with a corresponding zone diameter ECOFF of 21 mm for trimethoprim and 23 mm for trimethoprim-sulfamethoxazole. | 1 | [6 empty] | 1
148 | The activity of trimethoprim and trimethoprim-sulfamethoxazole is uncertain against enterococci, hence the wild type population is categorised as "Susceptible, increased exposure". | 1 | [6 empty] | 1
149 | The activity of trimethoprim and trimethoprim-sulfamethoxazole is uncertain against enterococci, hence the wild type population is categorised as intermediate. | 0
150 | The aztreonam breakpoints for Enterobacterales will detect clinically important resistance mechanisms (including ESBL). Some isolates that produce beta-lactamases are susceptible to aztreonam with these breakpoints and should be reported as tested, i.e. the presence or absence of an ESBL does not in itself influence the categorisation of susceptibility. ESBL detection and characterisation are recommended for public health and infection control purposes. | 1 | [6 empty] | 1
151 | The aztreonam breakpoints for Enterobacteriaceae will detect clinically important resistance mechanisms (including ESBL). Some isolates that produce beta-lactamases are susceptible or intermediate to aztreonam with these breakpoints and should be reported as tested, i.e. the presence or absence of an ESBL does not in itself influence the categorisation of susceptibility. ESBL detection and characterisation are recommended for public health and infection control purposes. | 1 |  | 1 | n.e.
152 | The benzylpenicillin 1 unit disk screen test shall be used to exclude beta-lactam resistance mechanisms. When the screen is negative (inhibition zone ≥12 mm) all beta-lactam agents for which clinical breakpoints are available, including those with “Note”, can be reported susceptible without further testing. When the screen is positive (inhibition zone <12 mm), see flow chart below for interpretation. | 1 | [6 empty] | 1
153 | The breakpoints are based on epidemiological cut-off values (ECOFFs) and apply to oral treatment of C. difficile infections with metronidazole. There are no conclusive clinical data regarding the relation between MICs and outcomes. | 1 | [8 empty] | oral | 1
154 | The breakpoints are based on epidemiological cut-off values (ECOFFs) and apply to oral treatment of C. difficile infections with vancomycin. There are no conclusive clinical data regarding the relation between MICs and outcomes. | 1 | [8 empty] | oral
155 | The breakpoints are based on epidemiological cut-off values (ECOFFs), which distinguish wild-type isolates from those with reduced susceptibility. | 1 | 1
156 | The carbapenem breakpoints for Enterobacteriaceae will detect all clinically important resistance mechanisms (including the majority of carbapenemases). Some isolates that produce carbapenemase are categorised as susceptible with the current breakpoints and should be reported as tested, i.e. the presence or absence of a carbapenemase does not in itself influence the categorisation of susceptibility. Carbapenemase detection and characterisation are recommended for public health and infection control purposes. For carbapenemase screening a meropenem screening cut-off of >0.125 mg/L (zone diameter <28 mm) is recommended. | 1 |  | 1 | n.e.
157 | The cefoxitin ECOFF (8 mg/L) has a high sensitivity but poor specificity for identification of AmpC-producing Enterobacterales as this agent is also affected by permeability alterations and some carbapenemases. Classical non-AmpC producers are wild type, whereas plasmid AmpC producers or chromosomal AmpC hyperproducers are non-wild type. | 1 | [6 empty] | 1
158 | The cephalosporin breakpoints for Enterobacterales will detect all clinically important resistance mechanisms (including ESBL and plasmid mediated AmpC). Some isolates that produce beta-lactamases are susceptible to 3rd or 4th generation cephalosporins with these breakpoints and should be reported as tested, i.e. the presence or absence of an ESBL does not in itself influence the categorisation of susceptibility. ESBL detection and characterisation are recommended for public health and infection control purposes. | 1 | [6 empty] | 1
159 | The cephalosporin breakpoints for Enterobacteriaceae will detect all clinically important resistance mechanisms (including ESBL and plasmid mediated AmpC). Some isolates that produce beta-lactamases are susceptible or intermediate to 3rd or 4th generation cephalosporins with these breakpoints and should be reported as tested, i.e. the presence or absence of an ESBL does not in itself influence the categorisation of susceptibility. ESBL detection and characterisation are recommended for public health and infection control purposes. | 1 |  | 1 | n.e.
160 | The intrinsic activity of clavulanic acid in K. kingae is such that the organism is inhibited by ≤2 mg/L clavulanic acid. Therefore no MIC breakpoints for amoxicillin-clavulanic acid can be given. | 1 | [6 empty] | 1
161 | The intrinsic activity of clavulanic acid in K. kingae is such that the organism is inhibited by 2 mg/L clavulanic acid. Therefore no breakpoints for amoxicillin-clavulanic acid can be given. | 1 | 1
162 | The intrinsically low activity of imipenem against Morganella morganii, Proteus spp. and Providencia spp. requires the high exposure of imipenem. | 1 | [6 empty] | 1
163 | The oxacillin 1 unit disk screen test shall be used to exclude beta-lactam resistance mechanisms. When the screen is negative (inhibition zone ≥20 mm) all beta-lactam agents for which clinical breakpoints are available, including those with “Note” can be reported susceptible without further testing. When the screen is positive (inhibition zone <20 mm), see flow chart below for interpretation. | 1 | [6 empty] | 1
164 | The susceptibility of streptococcus groups A, B, C and G to carbapenems is inferred from the benzylpenicillin susceptibility. | 1 |  | 1 | exec_rule_8_3
165 | The susceptibility of streptococcus groups A, B, C and G to cephalosporins is inferred from the benzylpenicillin susceptibility. | 1 |  | 1 | exec_rule_8_3
166 | The susceptibility of streptococcus groups A, B, C and G to penicillins is inferred from the benzylpenicillin susceptibility with the exception of phenoxymethylpenicillin and isoxazolylpenicillins for streptococcus group B. | 1 |  | 1 | streptococcus_penicillins_1_1, streptococcus_penicillins_1_2
167 | There is clinical evidence for ciprofloxacin to indicate a poor response in systemic infections caused by Salmonella spp. with low-level ciprofloxacin resistance (MIC >0.06 mg/L). The available data relate mainly to Salmonella Typhi but there are also case reports of poor response with other Salmonella species. | 1 | [6 empty] | 1
168 | Tigecycline has poor activity against Morganella morganii, Proteus spp. and Providencia spp. | 1 | [6 empty] | 1
169 | Tigecycline has poor activity against Morganella spp., Proteus spp. and Providencia spp. | 1 | [6 empty] | 1
170 | Trimethoprim-sulfamethoxazole in the ratio 1:19. Breakpoints are expressed as the trimethoprim concentration. | 0
171 | Viridans group streptococci are intrinsically resistant to aminoglycosides and aminoglycoside monotherapy is ineffective. There is likely to be synergy between aminoglycosides and penicillins or glycopeptides against streptococci without acquired high-level aminoglycoside resistance. All testing is therefore to distinguish between intrinsic and high-level acquired resistance. | 1 | 1 | [6 empty] | 1
172 | Viridans group streptococci are intrinsically resistant to aminoglycosides and aminoglycoside monotherapy is ineffective. There is likely to be synergy between aminoglycosides and penicillins or glycopeptides against streptococci without acquired high-level resistance. All testing is therefore to distinguish between intrinsic and high-level acquired resistance. | 1 | 1 | [6 empty] | 1
173 | Wild type Enterobacterales are categorised as susceptible to aminopenicillins. | 1 | [6 empty] | 1
174 | Wild type Enterobacterales are categorised as susceptible to aminopenicillins. Some countries prefer to categorise wild-type isolates of E. coli and P. mirabilis as "Susceptible, increased exposure". When this is the case, use the MIC breakpoint S ≤ 0.5 mg/L and the corresponding zone diameter breakpoint S ≥ 50 mm. | 1 | [6 empty] | 1
175 | Wild type Enterobacteriaceae are categorised as susceptible to aminopenicillins. | 1 | [6 empty] | 1
176 | Wild type Enterobacteriaceae are categorised as susceptible to aminopenicillins. Some countries prefer to categorise wild type isolates of E. coli and P. mirabilis as intermediate. When this is the case, use the MIC breakpoint S ≤ 0.5 mg/L and the corresponding zone diameter breakpoint S ≥ 50 mm. | 0
177 | Wild type S. pneumoniae are not considered susceptible to ciprofloxacin and are therefore categorised as intermediate. | 0
178 | Wild type S. pneumoniae are not considered susceptible to ofloxacin and are therefore categorised as intermediate. | 0
179 | Azithromycin has been used in the treatment of infections with Salmonella Typhi (MIC ≤16 mg/L for wild-type isolates) and Shigella spp. | 1 | [5 empty] | Salmonella enterica subsp. enterica serovar Typhi; Azithromycin; 16 |  |  |  | 1
180 | Trimethoprim:sulfamethoxazole in the ratio 1:19. Breakpoints are expressed as the trimethoprim concentration. | 0
181 | Agar dilution is the reference method for fosfomycin. MICs must be determined in the presence of glucose-6-phosphate (25 mg/L in the medium). Follow the manufacturers' instructions for commercial systems. Infections caused by wild-type isolates (ECOFF: MIC 128 mg/L; corresponding zone diameter 12 mm using the disk potency and reading instructions for E. coli) have been treated with fosfomycin in combination with other agents. | 0
182 | Glycopeptide MICs are method dependent and should be determined by broth microdilution (ISO standard 20776-1). S. aureus with vancomycin MIC values of 2 mg/L are on the border of the wild-type distribution and there may be an impaired clinical response. The resistant breakpoint has been reduced to 2 mg/L to avoid reporting "GISA" isolates in the I category as serious infections with "GISA" isolates are not treatable with increased doses of vancomycin or teicoplanin. | 1 | [6 empty] | 1 |  |  | 1
183 | MICs must be determined in the presence of polysorbate-80 (0.002% in the medium for broth dilution methods; agar dilution methods have not been validated). Follow the manufacturer's instructions for commercial systems. | 0
184 | Daptomycin MICs must be determined in the presence of Ca2+ (50 mg/L in the medium for broth dilution methods; agar dilution methods have not been validated). Follow the manufacturers' instructions for commercial systems. | 0
185 | Inducible clindamycin resistance can be detected by antagonism of clindamycin activity by a macrolide agent. If not detected, then report as tested according to the clinical breakpoints. If detected, then report as resistant and consider adding this comment to the report: "Clindamycin may still be used for short-term therapy of less serious skin and soft tissue infections as constitutive resistance is unlikely to develop during such therapy". The clinical importance of inducible clindamycin resistance in combination treatment of severe S. pyogenes infections is not known. | 1 | [6 empty] | 1 |  |  | 1
186 | The breakpoints are based on epidemiological cut-off values (ECOFFs) and apply to oral treatment of C. difficile infections with vancomycin. There are no conclusive clinical data regarding the relation between MICs and outcomes. | 1 | [8 empty] | oral | 1
187 | The cefoxitin ECOFF (8 mg/L) has a high sensitivity but poor specificity for identification of AmpC-producing Enterobacteriaceae as this agent is also affected by permeability alterations and some carbapenemases. Classical non-AmpC producers are wild type, whereas plasmid AmpC producers or chromosomal AmpC hyperproducers are non-wild type. | 0
188 | Glycopeptide MICs are method dependent and should be determined by broth microdilution (ISO standard 20776-1). S. aureus with vancomycin MIC values of 2 mg/L are on the border of the wild type distribution and there may be an impaired clinical response. The resistant breakpoint has been reduced to 2 mg/L to avoid reporting "GISA" isolates intermediate as serious infections with "GISA" isolates are not treatable with increased doses of vancomycin or teicoplanin. | 1 | [6 empty] | 1 |  |  | 1
189 | The cefoxitin ECOFF (8 mg/L) has a high sensitivity but poor specificity for identification of AmpC-producing Enterobacteriaceae as this agent is also affected by permeability alterations and some carbapenemases. Classical non-AmpC producers are wild type, whereas plasmid AmpC producers or chromosomal AmpC hyperproducers are non-wild type. | 0
190 | Glycopeptide MICs are method dependent and should be determined by broth microdilution (ISO standard 20776-1). S. aureus with vancomycin MIC values of 2 mg/L are on the border of the wild type distribution and there may be an impaired clinical response. The resistant breakpoint has been reduced to 2 mg/L to avoid reporting "GISA" isolates intermediate as serious infections with "GISA" isolates are not treatable with increased doses of vancomycin or teicoplanin. | 1 | [6 empty] | 1 |  |  | 1
191 | The carbapenem breakpoints for Enterobacteriaceae will detect all clinically important resistance mechanisms (including the majority of carbapenemases). Some isolates that produce carbapenemase are categorised as susceptible with these breakpoints and should be reported as tested, i.e. the presence or absence of a carbapenemase does not in itself influence the categorisation of susceptibility. Carbapenemase detection and characterisation are recommended for public health and infection control purposes. | 1 |  | 1
192 | Breakpoints are based on high dose therapy, see table of dosages (0.75 g x 2 oral or 0.4 g x 3 iv). | 0
193 | This text is new. | 0
194 | The cefoxitin ECOFF (8 mg/L) has a high sensitivity but poor specificity for identification of AmpC-producing Enterobacteriaceae as this agent is also affected by permeability alterations and some carbapenemases. Classical non-AmpC producers are wild type, whereas plasmid AmpC producers or chromosomal AmpC hyperproducers are non-wild type. | 0
195 | Glycopeptide MICs are method dependent and should be determined by broth microdilution (ISO standard 20776-1). S. aureus with vancomycin MIC values of 2 mg/L are on the border of the wild type distribution and there may be an impaired clinical response. The resistant breakpoint has been reduced to 2 mg/L to avoid reporting "GISA" isolates intermediate as serious infections with "GISA" isolates are not treatable with increased doses of vancomycin or teicoplanin. | 1 | [6 empty] | 1 |  |  | 1
196 | The carbapenem breakpoints for Enterobacteriaceae will detect all clinically important resistance mechanisms (including the majority of carbapenemases). Some isolates that produce carbapenemase are categorised as susceptible with these breakpoints and should be reported as tested, i.e. the presence or absence of a carbapenemase does not in itself influence the categorisation of susceptibility. Carbapenemase detection and characterisation are recommended for public health and infection control purposes. | 1 |  | 1
197 | Breakpoints are based on high dose therapy, see table of dosages (0.75 g x 2 oral or 0.4 g x 3 iv). | 0
198 | This text is new. | 0
199 | Most staphylococci are penicillinase producers, which are resistant to benzylpenicillin, phenoxymethylpenicillin, ampicillin, amoxicillin, piperacillin and ticarcillin. Isolates negative for penicillinase and susceptible to methicillin can be reported susceptible to these agents. Isolates positive for penicillinase and methicillin susceptible are susceptible to beta-lactamase inhibitor combinations and isoxazolylpenicillins (oxacillin, cloxacillin, dicloxacillin and flucloxacillin). | 1 |  | 1
200 | Susceptibility of staphylococci to cephalosporins is inferred from the cefoxitin susceptibility except for cefixime, ceftazidime, ceftazidime-avibactam, ceftibuten and ceftolozane-tazobactam, which do not have breakpoints and should not be used for staphylococcal infections. Some methicillin-resistant S. aureus are susceptible to ceftaroline and ceftobiprole, see Notes 5/C and 6/D. | 1 |  | 1
201 | Glycopeptide MICs are method dependent and should be determined by broth microdilution (reference ISO 20776). S. aureus with vancomycin MIC values of 2 mg/L are on the border of the wild type distribution and there may be an impaired clinical response. The resistant breakpoint has been reduced to 2 mg/L to avoid reporting "GISA" isolates intermediate as serious infections with "GISA" isolates are not treatable with increased doses of vancomycin or teicoplanin. | 1 | [6 empty] | 1 |  |  | 1
202 | Enterococci are intrinsically resistant to aminoglycosides and aminoglycoside monotherapy is ineffective. There is likely to be synergy between aminoglycosides and penicillins or glycopeptides against enterococci without acquired high-level resistance. All testing is therefore to distinguish between intrinsic and high-level acquired resistance. | 1 |  | 1
203 | The activity of trimethoprim and trimethoprim-sulfamethozaxole is uncertain against enterococci, hence the wild type population is categorised as intermediate. | 1 | [6 empty] | 1 |  |  | 1
204 | Inducible clindamycin resistance can be detected by antagonism of clindamycin activity by a macrolide agent. If not detected, then report as susceptible. If detected, then report as resistant and consider adding this comment to the report: "Clindamycin may still be used for short-term therapy of less serious skin and soft tissue infections as constitutive resistance is unlikely to develop during such therapy". The clinical importance of inducible clindamycin resistance in combination treatment of severe S. pyogenes infections is not known. | 1 | [6 empty] | 1 |  |  | 1
205 | For anaerobic bacteria there is clinical evidence of activity in mixed intra-abdominal infections, but no correlation between MIC values, PK/PD data and clinical outcome. Therefore no breakpoints for susceptibility testing are given. | 1 | [6 empty] | 1 |  |  | 1
206 | Aminoglycoside breakpoints are based on once-daily administration of aminoglycoside dosages, see table of dosages. Most often aminoglycosides are given in combination with beta-lactam agents. | 0
207 | For breakpoints and dosing in pneumonia, see table of dosages.4/B. Susceptibility inferred from ampicillin (MIC or zone diameter). | 0
208 | Wild type Enterobacterales are categorised as susceptible to aminopenicillins. Some countries prefer to categorise wild-type isolates of E. coli and P. mirabilis as "Susceptible, increased exposure". When this is the case, use the MIC breakpoint S ≤ 0.5 mg/L and the corresponding zone diameter breakpoint S ≥ 50 mm. | 1 | [6 empty] | 1 |  |  | 1
209 | Gentamicin can be used to screen for high-level aminoglycoside resistance (HLAR). Negative test: Isolates with gentamicin MIC ≤128 mg/L or a zone diameter ≥8 mm. The isolate is wild type for gentamicin and low-level intrinsic resistant. For other aminoglycosides, this may not be the case. Synergy with penicillins or glycopeptides can be expected if the isolate is susceptible to the penicillin or glycopeptide. | 0
210 | Gentamicin can be used to screen for high-level aminoglycoside resistance (HLAR). Negative test: Isolates with gentamicin MIC ≤128 mg/L or a zone diameter ≥8 mm. The isolate is wild type for gentamicin and low-level intrinsic resistant. For other aminoglycosides, this may not be the case. Synergy with penicillins or glycopeptides can be expected if the isolate is susceptible to the penicillin or glycopeptide. Positive test: Isolates with gentamicin MIC >128 mg/L or a zone diameter <8 mm. The isolate is high-level resistant to gentamicin and other aminoglycosides, except streptomycin which must be tested separately if required (see note 3/B). There will be no synergy with penicillins or glycopeptides. | 0
211 | Isolates with high-level gentamicin resistance may not be high-level resistant to streptomycin. Negative test: Isolates with streptomycin MIC ≤512 mg/L or a zone diameter ≥14 mm. The isolate is wild type for streptomycin and low-level intrinsic resistant. Synergy with penicillins or glycopeptides can be expected if the isolate is susceptible to the penicillin or glycopeptide. | 0
212 | Isolates with high-level gentamicin resistance may not be high-level resistant to streptomycin. Negative test: Isolates with streptomycin MIC ≤512 mg/L or a zone diameter ≥14 mm. The isolate is wild type for streptomycin and low-level intrinsic resistant. Synergy with penicillins or glycopeptides can be expected if the isolate is susceptible to the penicillin or glycopeptide. Positive test: Isolates with streptomycin MIC >512 mg/L or a zone diameter <14 mm. The isolate is high-level resistant to streptomycin. There will be no synergy with penicillins or glycopeptides. | 0
213 | Gentamicin can be used to screen for high-level aminoglycoside resistance (HLAR). Negative test: Isolates with gentamicin MIC ≤128 mg/L. The isolate is wild type for gentamicin and low-level intrinsic resistant. For other aminoglycosides, this may not be the case. Synergy with penicillins or glycopeptides can be expected if the isolate is susceptible to the penicillin or glycopeptide. | 0
214 | Gentamicin can be used to screen for high-level aminoglycoside resistance (HLAR). Negative test: Isolates with gentamicin MIC ≤128 mg/L. The isolate is wild type for gentamicin and low-level intrinsic resistant. For other aminoglycosides, this may not be the case. Synergy with penicillins or glycopeptides can be expected if the isolate is susceptible to the penicillin or glycopeptide. Positive test: Isolates with gentamicin MIC >128 mg/L. The isolate is high-level resistant to gentamicin and other aminoglycosides except streptomycin. There will be no synergy with penicillins or glycopeptides. | 0
215 | Wild type Enterobacteriaceae are categorised as susceptible to aminopenicillins. Some countries prefer to categorise wild type isolates of E. coli and P. mirabilis as intermediate. When this is the case, use the MIC breakpoint S ≤ 0.5 mg/L and the corresponding zone diameter breakpoint S ≥ 50 mm. | 1 | [6 empty] | 1 |  |  | 1
216 | Breakpoints for penicillins other than benzylpenicillin relate only to non-meningitis isolates. Isolates fully susceptible to benzylpenicillin (MIC ≤0.06 mg/L and/or susceptible by oxacillin disk screen, see note C) can be reported susceptible to beta-lactam agents for which clinical breakpoints are listed (including those with "Note"). | 1 |  | 1
217 | In pneumonia, when a dose of 1.2 g x 4 is used, isolates with MIC ≤0.5 mg/L should be regarded as susceptible. In pneumonia, when a dose of 2.4 g x 4 or 1.2 g x 6 is used, isolates with MIC ≤1 mg/L should be regarded as susceptible. | 0
218 | Most often aminoglycosides are given in combination with beta-lactam agents. | 0
219 | Susceptibility of staphylococci to cephalosporins is inferred from the cefoxitin susceptibility except for cefixime, ceftazidime, ceftazidime-avibactam, ceftibuten and ceftolozane-tazobactam, which do not have breakpoints and should not be used for staphylococcal infections. Some methicillin-resistant S. aureus are susceptible to ceftaroline and ceftobiprole, see Notes 4/D and 6/F. | 1 |  | 1
220 | The activity of trimethoprim and trimethoprim-sulfamethoxazole is uncertain against enterococci, and it is not possible to predict clinical outcome. The ECOFF to categorise isolates as wild type or non-wild type for both E. faecalis and E. faecium is 1 mg/L, with a corresponding zone diameter ECOFF of 21 mm for trimethoprim and 23 mm for trimethoprim-sulfamethoxazole. | 1 | [6 empty] | 1 |  |  | 1
221 | Breakpointss apply only to tests performed on Middlebrook 7H11/7H10 medium. Comparability of tests performed by other media has not been established. | 0